## Sheet1
Fields on import in Petalum | Example | Required? | Currently in LCQ Worklist | Currently in LCQ result file? | Location: | Currently in FilemakerWorklist? | Location | Potential location in Worklist | Potential Location in XML
Well | A:1 |  | Sample Name | Yes | <SAMPLE_NAME> | No |  | Sample Name | <SAMPLE_NAME>
ProdNum | SS361874-01 | y | File Name | Maybe | <DATA_FILE @NAME> | Yes | File Name & Sample ID | File Name & Sample ID | <DATA_FILE @NAME> & <SAMPLE_ID>
TestDate | 2015-09-02 |  |  | Yes | <ACQ_DATE> | N/A |  | N/A | <ACQ_DATE>
TestTime | 15:04 |  |  | Sort of | <Processing_date_time> | N/A |  | N/A | <PROCESSING_DATE_TIME>
TesterName | Cameron |  |  | No |  | No
Instr | B10195 | y |  | Sort of | <Processing_computer_name> | N/A |  | N/A | <PROCESSING_COMPUTER_NAME>
TestResults | 31510.6406 | y |  | yes | <Target_mass/Observed_Mass> | N/A |  | N/A | <TARGET_MASS/OBSERVED_MASS>
DeckLoc | 11 |  | Position | no |  | Yes | Comment
OrigRow | A |  |  | no |  | No
OrigCol | 1 |  |  | no |  | No
SSID | 361874 | y |  | No |  | Yes | Sample Name | SSID (L1) | <STUDY> or <SSID>
TestGoal | 31510.7402 | y |  | Yes | <Target_mass @Mass> | Yes | L5 Target Info | determined from Biosequence | <TARGET_MASS @MASS>
TestType | MS (or HPLC) | y |  | N/A |  | N/A |  | N/A | duplicated using double run in xsl
SO | 160173 |  |  | No |  | No |  | SO (L2) | <CLIENT> or <SO>
ESScnBC | 1000723712 | y |  | No |  | No |  | Path | <DATA_PATH>
Area | 81.23 | y |  | Yes | <Target_Mass/Total_Abundance> | N/A |  | N/A | <TARGET_MASS/TOTAL_ABUNDANCE>
InjVol | 1 |  | Inj Vol | Yes | <Inj_Vol> | Yes | Inj Vol | Injection Volume | <INJ_VOL>
InstrMeth | Ha_Probes.olp |  | Instrument Method | Yes | <Inst_Method> | Yes | Instrument Method | Instrument Method | <INST_METHOD>
Fields imported in script
Synthesis Batch |  | y |  | No |  | No |  |  | In Filemaker
Customer | UCSB/F. Fong | y |  | No |  | No |  |  | In Filemaker
UseThis | Y | y |  | No |  | No |  |  | In Filemaker
Note on A16: Cameron Ferguson: Can define a Path to save the data in the worklist! Use this to attach barcode to result, enabling easy import.

## Sheet2
Possible Fields in Worklist | required | Used
Sample Type | y
Sample Name |  | x
File Name | y | x
Sample ID | y | x
Path | y
Instrument Method | y | x
Processing Method | y | x
Calibration File
Position | y
Injection Volume |  | x
Level
Sample Weight
Sample Volume
ISTD Corr Amt
Dil Factor
L1 Study |  | x
L2 Client |  | x
L3 Biosequence | ? | ?
L4 Znova Params | y | x
L5 Target info | y | x, potential to add more
Comment |  | x